# Manual

Windows login

Username: LCP_student@outlook.com

PW: Float_and_Sink

Github links:

NOAA-PMEL/NOAA-PMEL-Low-Cost-Profiler: NOAA PMEL's Low Cost Profiler

NOAA-PMEL/EDD-LCP_Control

12-28 v

20-27 v ideal

Dont go below 20 or above 28 volts

Redesign of battery charging

Wiring diagrams will be insufficient

Chat with Katie:

Chris Roman URI

- Propeller

There is an example of wiring

Connectors (Molex)

There is piston greases

Will go everywhere

Sharpie marks on the ram (90 degree marks)

Will help in aligning the gas springs

The height measurement of 6.46 inches is very important

Snap ring should be oriented with the opening perpendicular to gas spring ears

We have gen zero electronics

Do not write documentation about it

Boards have to be fully wired/connected before power is applied

Power on batteries are not plugged in

Put diodes into the battery pack in the alkaline battery packs

Be very careful about battery connected vs power not connected

No salinity sensor

Only pressure and temperature

When everything is put together before the end cap you extend the ram all the way and then take the outer tube and slide it on until about an inch left and then screw the end cap on. Screw the outer thing until the screw ports are aligned. Then decrease the ram piston. Make sure you have a way to talk to the ram and that it has power.

MAKE SURE THE RAM HAS POWER AND COMS BEFORE FULLY CLOSING

Run it on the bench with out the outer shell for testing

# Chats with people

# Help resources:

Zack Johnson -  SOFAR

Essentially want to be a plug and play like bristlemouth, a base interface that users can add whatever sensors that they want, they could also change the code to change the mission type to capture whatever depth range they want.

Finding community leads?

How to go from user to contributor?

How do contributors differ?

Should there be sort of an admin style approach with firmware/mech/electrical?

How did you approach building up a user base? Obviously SOFAR/Bristlemouth is more of a product, but outside of the product itself how did you sell bristlemouth?

How have you seen the bristlemouth product be modified and used?

Creating an organization on github

Place to start:

- How imagine people getting/building

- Things they need to know to be successful

- From scratch?

- Tailoring licenses/repos

- Machining expertise

- Does it matter if commercial not commercial

- Creative commons mit/apache

- How would people acquire the materials

- Documentation

- Where people interface the most

- Dont worry bout the licensing too much

Initial steps;

- Reached out to people who wanted to work of the platform

- Support small group

- Reasonable know how

- Very specific use cases free hardware

Already had community built from openrov

Find that community

Oceanography for everyone

Webinar

How to market

Use the UW community

Maker community

Fin the Unis that highest likelihood of doing something

Forum: Discourse

Elevate people to admin

Managing a big space like that

Speak with folks at blue robotics

How much should be user to user solution

Github is good for some things

But not as ubiquitous as discourse

Just having a hands off place for users

Trevor Harrison - APL

Qs:

What type of research questions would you be able to answer with this product.

- Salinity, temp, pressure

- DO, acoustic

- Mixed layer, coastal processes

- River plumes, tidally influenced, or just the mixing

- Sounds speed gradients

- DO lvls

- Passive Acoustics monitoring

- Scripps AUEs - PAR

- Turbidity

- Carbon capture and storage

- Camera

- Water qual measurements

Understanding how the addition of sensors will effect ballasting

How sensors will effect the float

What type of sensors would you want to include/add

If you were to use this product, what would you need in terms of technical documentation/how much would you need manufactured.

- Instruction manual - lego steps

- Steps- logical subsystems

- Troubleshooting guide issues and how to address them

- Well documented code base

- What power levels, what com channels are open, control of buoyancy based off of the new sensors

- Acccsessing sensor information and output of buoyancy engine

- mass , volume, of base model

- Volume of the buoyancy engine

- Change in displaced volume as a function of motor input

- For base user make it so easy to use like a phone

- Hs lvl understanding of sci and tech

- Assume people have basics

- Having the tool needs

- Or make to order

- Xometry

- Send cut send

- Ashcut

- Build manual, startup/, operational, and trouble shooting, data offload and analysis

Baseline for the sensors

Creating the community, minimizing the number of channels

Do you have past experience with open source projects, what worked what didn’t?

Good documentation eg.

https://community.particle.io/

Chat with Andrew Thaler:

Finding community leads?

How to go from user to contributor?

How do contributors differ?

Should there be sort of an admin style approach with firmware/mech/electrical?

How did you approach building up a user base?

Camera traps

Atlas standards

DO/pH

Integrated niskin,

Cool alterations from the community,

Make sure all on board

As:

Make sure good with rules

Not as much documentation, licenses, make sure the tools are open source

Having the software available

Have the WHY for its open source

Limitations for it if its community let it be fully open source

Documentation

Instruction for building it

Monetize it?

Or Preclude it to be a tool for the global community

Software or just hardware

Having the custom parts

Main branch of opentctd softawwre

Some people that can approve

Core founders are the ones with admin control

Personal connections

Presentations at conferences

Collabs for grants

Grand perspective 40-50,

not/to - Centralized data portal

Having that data be autonomous or centralized probably centralized due to satellite,

Ashley Howard chat

- What exactly type of research do you do how would you apply the float

- For glacial fjord flat top can accumulate sediment

- firmware , having several different missions,

- Velocity profiles

- Acoustic modems for tracking

- Isopycnal mode

- Move in 3d langrangian way with the water mass

- Lowers the stakes of science can deploy in more risky

- Glacial fjord

- Gps was a limiting factor due to poor signal with the glacier walls

- Having the horizontal stuff is helpful

- Troubleshooting

Kendall Fonetnot

https://github.com/tedlanghorst/OpenOBS-328

https://tedlanghorst.github.io/OpenOBS-328/about/

https://github.com/tedlanghorst/OpenOBS-328/tree/main/sensor/hardware/3D_print/custom_pcbs

\https://www.nature.com/articles/s44221-023-00124-2

Caiti Guerin

- Lay everything out!

  - Write down what you are making assumptions about

  - Note what needs to change

- Print out all of the manuals

- Label all parts with tape that make sense

- Ask for torque specs

- Lay out all tools before assembly

- Make sure you have everything

- Can set out plywood and move everything

- Try to think about what makes sense

  - Something not specified and two spots could join

  - Missing o-rings

  - What is going where

    - Seals

- Check wires for nicks

- Make sure connectors are good

- Inspect solder joints

- Layout pieces and make sure the thing matches the visuals

- Lock type

  - What is securing what

Robby

- Add that you need to download the installer instead of the .zip for Cmake

- The git hub was missing one of the documents

  - /arm-gcc-toolchain.cmake”

- The run script has something that only works on Linux and it was needed for the set up of windows

- The windows set up needs something that only runs on linux

- AmbiqSuiteSDK only works on linux

# Notes while making

Part 1

- Need to make it more clear that you should start with internal assembly

- Where connection points for actuator are

- Wire stripping and attaching connectors

  - If you want wires twisted

- What parts to use for this connection

- How much wire to cut from actuator, tools required(leave 2inches of inner wires

Part 2: Downloading software for quick start up

Step 1: Follow instructions in this document

- https://github.com/NOAA-PMEL/EDD-LCP_Control/blob/Ver1.0/LCP%20Windows%20Build%20Guide.docx

- Make sure that the paths on your pc are set to the ones specified in the document.

- Check on the version of the downloads

- You can change the path of the downloads of these softwares by using Eg. set PATH=%PATH%;C:\Program Files (x86)\Arm GNU Toolchain arm-none-eabi\14.2 rel1\bin;C:\Tools\ninja-win;C:\Program Files\SEGGER\JLink_V860

- Program files( x86) can be the path on your computer to the download

- Make sure unzip all of the downloaded files

- Windows build is not working rn

Commands to use:

Windows notes:

Make sure the build folder in firmware is deleted if failed

Make sure all the spaces are right in the cmake line

Ver1.0 branch of the edd lcp control github

Terra term for coms

Add instructions for tera term

PuTTY did not work very well for windows

Our max encode max encode= 142432

When using the Actuator it will randomly start extending.

LINUX NOTES:

If git not installed

Use sudo apt install get

If there is a frontend lock then check the current running process of apt and dpkg

If sudo kill does not work

Us sudo rm /var/lib/dpkg/lock-frontend

Sudo rm /var/lib/dpkg/lock

Sudo dpkg –configure -a

Sudo apt install git

This should download git

Use git  --version

To make sure that it downloaded

Clone the github NOAA-PMEL/EDD-LCP_Control.git

Error can find file in the github am.mcu.apollo.h

Put installation tool cad files into the git hub

Extending the Actuator:

- Connect the piston board usb to computer

- Power and ground to the power at 24v 4 amp

- Connect to Tera term and use the instructions in the guide:

- https://github.com/NOAA-PMEL/EDD-LCP_PistonDriver/blob/Windows_Build/Documentation/Manual/LCP_Pistonboard_User_Manual.pdf

2. Fix wording of lube coating

3. The installation tool goes around piston 1 not housing 1

Steps 3 and 4 might be switched. You can’t put 43 on with the installation tool on

There need to be an instruction to make the inner assembly

#45 is the big one #46 is the smaller

O-ring goes towards pressure

Pressure is coming from the outside

The rounded end is the pressure end

# 46 goes in top groove o-ring up

Install wear rings closer to the end

Dont need anything that says put an installation tool

For Putty add carriage return and line feed

Install both the wear ring and the o-ring before installing #5 into #3

And before aqua lube

Step 14/15 of inner assembly: how can you put a zip tie on the actuator cables and assemble #13 back onto it?

26 is no longer used

Questions and answers

- 16: We only have two of the steel washers. We need four of them.  = I have a lot of these.

- 18: We couldn't find it. = Already installed in your end cap

- 23: We are missing one hex nut. We have 3 but need 4.  = I have a lot of these.

- 26: We don't know what it is supposed to be. = No longer used.

- 31: We are missing one. We have 2 but need 3. =  Already installed on your version (different elect board and 3-D printed mounting, than on the drawing).

- 35: We couldn't find it. = Not needed on the new electronics board version with the 3-D printed board mount.

- 42, 44- 46: We are confused about what/where they are. We might be missing number 44. = these are the wear rings, you will need to cut the wear material you have to the lengths given, let me know if you need more material?

Use these to make edits to the instructions

Zip tie the actuator cable to screw

Need better firmware flashing instructions 🙁

Flashing notes

- Use the EDD-LCP_Control/LCP Quick Start Guide_v0.pdf at Ver1.0 · NOAA-PMEL/EDD-LCP_Control

- Follow the setup instructions

  - Plug the LCP in and get to tera term

    - We don’t need the shell aspect

- Once you are at the point to follow the j-link instructions plug the jlink wire in

  - The usb end should be in the computer

- Make a build directory

  - This should be in firmware -> LCP_Control

- Change the profile you want in

# Cygwin

- To get to drives on the windows side you have to type the whole directory name

  - cd /cygdrive/c/Users/youruser/whereyouwant

# NEW CAD PARTS

Battery Holder and Wire endcap holder:

https://cad.onshape.com/documents/5b9ea33b384a22354a56cc99/w/bb9b9d8c42264703782c920e/e/1995a938ec3e498a63046295?renderMode=0&uiState=69727226cc2c8ec7467052eb